## Anforderungsliste EN
List of requirements for the EHPA-Qualtiy Label application
| 1. select application form: | *Please select from list* | 3. fill in the fields:
| 2. select heat pump type: | *Please select from list* | Basic data (mandatory) |  |  | Models (mandatory) |  |  | Comments (optional)
|  |  | *Company name* |  |  | *Model 1* | *Model 2* | insert further columns for more models | *Name* | *Name* | *Name*
| Document V13.6 Basis: EHPA regulations version 2.3 dated 01.04.2026 | Requirement for the selected application form | *model-range name* | [5 empty] | *date* | *date* | *date*
1 | Fundamentals | - | Name of document | Page |  | ok ... submitted x ... not submitted / correct - ... not necessary
| Accredited test reports in accordance with EN 12102-1 and -2 EN 14511-2 to 4 and EN 14825, or EN 16147 for drinking water Number depends on the scope of the model-range | - | - | - |  | - | - | - | - | - | -
| Signed detailed accredited performance test report according to EHPA regulations or HP Keymark regulations AND | Please select application form and heat pump type | *document name* | -
| Signed detailed accredited sound test report according to EHPA regulations or HP Keymark regulations AND | Please select application form and heat pump type | *document name* | -
| SCOP requirements for room-heating heat pumps | - | - | - |  | - | - | - | - | - | -
| Low temperature application (35°C) and average climate: SCOP Min : 3,70 (A/W) SCOP Min : 4,70 (B/W, W/W) SCOP Min : 4,10 (DX/W) SCOP Min : 3,40 (A/A) | Please select application form and heat pump type | *document name* | *page*
| Medium temperature application (55°C) and average climate: SCOP Min : 3,20 (A/W) SCOP Min : 3,70 (B/W, W/W) SCOP Min : 3,38 (DX/W) | Please select application form and heat pump type | *document name* | *page*
| Requirements for domestic hot water heat pumps | - | - | - |  | - | - | - | - | - | -
| The heat pump must be able to produce at least 55°C hot water | Please select application form and heat pump type | *document name* | *page*
| Minimum “SCOP_domestic hot water” or “COP_domestic hot water” is complied with A7 ≥ 2.8 / A15 ≥ 2.9 / A20 ≥ 3.2 / B0 ≥ 2.8 / W10 ≥ 3.0 | Please select application form and heat pump type | *document name* | *page*
| Signed approval of conformity from the manufacturer if the product designations on the test report/HP Keymark and on the EHPA label are not the same (see template at www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | Please select application form and heat pump type | *document name* | *page*
| Signed CE Declaration of Conformity | Please select application form and heat pump type | *document name* | *page*
| Formal approval from the holder of the parental Quality Label (see template at www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | Please select application form and heat pump type | *document name* | *page*
2 | Application | - | - | - | - | - | - | - | - | - | -
| Upload the list of main components (manufacturer, type designation, ) and fill in the online mask in the model including SCOP values. | Please select application form and heat pump type | Please enter this information in the online portal for each model. | -
| Enter the values for the individual products for EN 14511, EN 14825 and EN 12102-1 in the info mask. | Please select application form and heat pump type | Please enter this information in the online portal for each model. | -
3 | Customer service (German version) | - | - | - |  | - | - | - | - | - | -
| Form template for the commissioning and maintenance technician | Please select application form and heat pump type | *document name* | *page*
| Warranty for at least 2 years | Please select application form and heat pump type | *document name* | *page*
| Spare parts warranty for at least 10 years | Please select application form and heat pump type | *document name* | *page*
| Customer service response time in the sales territory within 24 hours and hours and contact details for customer service in the sales area (see template at www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | Please select application form and heat pump type | *document name* | *page*
4 | Operating instructions (German version) | - | - | - |  | - | - | - | - | - | -
| Information and safety instructions for proper use | Please select application form and heat pump type | *document name* | *page*
| Instructions for operating the heat pump | Please select application form and heat pump type | *document name* | *page*
| Spare parts list | Please select application form and heat pump type | *document name* | *page*
5 | Installation instructions (German version) | - | - | - |  | - | - | - | - | - | -
| Installation instructions | Please select application form and heat pump type | *document name* | *page*
| Safety instructions | Please select application form and heat pump type | *document name* | *page*
| Commissioning instructions | Please select application form and heat pump type | *document name* | *page*
| Fluid diagrams for refrigerent circuit and water circuit | Please select application form and heat pump type | *document name* | *page*
| Electrical diagram for connecting the heat pump | Please select application form and heat pump type | *document name* | *page*
| “Energy label and energy label data sheet in accordance with 811/2013 (heating and combi heat pumps) and 812/2013 (hot water heat pumps) (only for appliances with a maximum rated output of 70 kW)” | Please select application form and heat pump type | *document name* | *page*
6 | Technical data (German version) | - | - | - |  | - | - | - | - | - | -
| Performance data (thermal output, electrical power consumption and COP over the entire output range) | Please select application form and heat pump type | *document name* | *page*
| Performance data in accordance with EN 14511 for A7/W35 (heat output, electrical power consumption and COP) | Please select application form and heat pump type | *document name* | *page*
| Dimensional drawing | Please select application form and heat pump type | *document name* | *page*
| Minimum distances | Please select application form and heat pump type | *document name* | *page*
| Refrigerant: type and filling quantity | Please select application form and heat pump type | *document name* | *page*
| Starting current / maximum operating current in A | Please select application form and heat pump type | *document name* | *page*
| Application range / application limits | Please select application form and heat pump type | *document name* | *page*
| Volume flow on source and sink side in m³/h, l/min | Please select application form and heat pump type | *document name* | *page*
| Volume of the hot water tank in liters | Please select application form and heat pump type | *document name* | *page*
| Weight in kg | Please select application form and heat pump type | *document name* | *page*
| Sound power according to EN 12102 / Energy label in [dB(A)] | Please select application form and heat pump type | *document name* | *page*
| Sound power according to EN 14825 testingpoint B (A2) in [dB(A)] | Please select application form and heat pump type | *document name* | *page*
| Maximum sound power level in dB(A) and corresponding heat output in kW | Please select application form and heat pump type | *document name* | *page*
| Maximum sound power level “Silent mode” in dB(A) and corresponding heat output in kW | Please select application form and heat pump type | *document name* | *page*

## Dropdown Quelle (hidden)
Select application form: | *Please select from list* | Initial application | Transfer from another country or another company | 1st and 2nd renewal (valid for max. 9 years) | from 3rd renewal (validity over 9 years) | Extension of an existing quality label | Change of product names | Technical changes to the product
Heat pump type: | *Please select from list* | Air/water | Water/water | Brine/water | Air/air | Domestic hot water heat pump

## Anforderung Antragsteller (hidden)
Liste Anforderungen an den Antragsteller je Antrag
|  | Initial application |  |  |  |  | Transfer from another country or another company |  |  |  |  | 1st and 2nd renewal (valid for max. 9 years) |  |  |  |  | from 3rd renewal (validity over 9 years) |  |  |  |  | Extension of an existing quality label |  |  |  |  | Change of product names |  |  |  |  | Technical changes to the product
|  | Erstantrag (Elterngütesiegel); Einzelprodukt oder Baureihe |  |  |  |  | Übertragung auf Basis eines Elterngütesiegel (Followup-Gütesiegel); Übertragung zwischen zwei Ländern oder Unternehmen, mit gleicher oder nicht gleicher Produktbezeichnung |  |  |  |  | Verlängerung von Elterngütesiegel oder Followup; 1. und 2. Verlängerung des Elterngütesiegels |  |  |  |  | Verlängerung von Elterngütesiegel oder Followup; jede weitere Verlängerung |  |  |  |  | Erweiterung von Elterngütesiegel oder Followup; Erweiterung des Gütesiegels um ein oder mehrere Modelle |  |  |  |  | Änderung von Elterngütesiegel oder Followup; Änderung der Produktbezeichnungen |  |  |  |  | Technische Änderungen am Produkt
1 | Grundlegendes | Initial application Air/water | Initial application Water/water | Initial application Brine/water | Initial application Air/air | Initial application Domestic hot water heat pump | Transfer from another country or another company Air/water | Transfer from another country or another company Water/water | Transfer from another country or another company Brine/water | Transfer from another country or another company Air/air | Transfer from another country or another company Domestic hot water heat pump | 1st and 2nd renewal (valid for max. 9 years) Air/water | 1st and 2nd renewal (valid for max. 9 years) Water/water | 1st and 2nd renewal (valid for max. 9 years) Brine/water | 1st and 2nd renewal (valid for max. 9 years) Air/air | 1st and 2nd renewal (valid for max. 9 years) Domestic hot water heat pump | from 3rd renewal (validity over 9 years) Air/water | from 3rd renewal (validity over 9 years) Water/water | from 3rd renewal (validity over 9 years) Brine/water | from 3rd renewal (validity over 9 years) Air/air | from 3rd renewal (validity over 9 years) Domestic hot water heat pump | Extension of an existing quality label Air/water | Extension of an existing quality label Water/water | Extension of an existing quality label Brine/water | Extension of an existing quality label Air/air | Extension of an existing quality label Domestic hot water heat pump | Change of product names Air/water | Change of product names Water/water | Change of product names Brine/water | Change of product names Air/air | Change of product names Domestic hot water heat pump | Technical changes to the product Air/water | Technical changes to the product Water/water | Technical changes to the product Brine/water | Technical changes to the product Air/air | Technical changes to the product Domestic hot water heat pump
| akkreditierte Prüfberichte nach EN 12102-1 und -2, EN 14511-2 bis 4 und EN 14825, bzw. EN 16147 bei Trinkwasser Anzahl hängt vom Umfang der Modelreihe ab | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| - Unterschriebener detaillierter akkreditierter Leistungs-Prüfbericht nach EHPA Regularien oder HP-Keymark Regularien UND | required | required | required | required | required | required | required | required | required | required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| - Unterschriebener detaillierter akkreditierter Schall-Prüfbericht nach EHPA Regularien oder HP-Keymark Regularien UND | required | required | required | required | required | required | required | required | required | required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | required if the minimum number of tested devices changes due to the expansion of the building marriage | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| SCOP Anforderungen für Heizungs-Wärmepumpen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| - Niedertemperaturanwendung (35°C) und durchschnittliches Klima: SCOP Min : 3,70 (A/W) SCOP Min : 4,70 (B/W, W/W) SCOP Min : 4,10 (DX/W) SCOP Min : 3,40 (A/A) | required | required | required | required | not required | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | not required | not required | not required | not required | not required | not required | required | required | required | required | nicht erforderlich | required | required | required | required | not required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| - Mitteltemperaturanwendung (55°C) und durchschnittliches Klima: SCOP Min : 3,20 (A/W) SCOP Min : 3,70 (B/W, W/W) SCOP Min : 3,38 (DX/W) | required | required | required | required | not required | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | not required | not required | not required | not required | not required | not required | required | required | required | required | nicht erforderlich | required | required | required | required | not required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Anforderungen für Brauchwasser-Wärmepumpen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| - Die Wärmpumpe muss mindestens 52°C Warmwasser erzeugen können | not required | not required | not required | not required | required | not required | not required | not required | not required | required | not required | not required | not required | not required | not required | not required | not required | not required | not required | erforderlich | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| - Minmaler "SCOP_domestic hot water", bzw. "COP_domestic hot water" wird eingehalten A7 ≥ 2,8 / A15 ≥ 2,9 / A20 ≥ 3,2 / B0 ≥ 2,8 / W10 ≥ 3,0 | not required | not required | not required | not required | required | not required | not required | not required | not required | required | not required | not required | not required | not required | not required | not required | not required | not required | not required | erforderlich | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Unterfertigte Baugleicheitsbescheinigung des Herstellers, falls die Produktbezeichnungen am Prüfbericht/HP Keymark und am EHPA Label nicht gleich sind (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the products are to be named differently than on the parental quality label or the testreport | required if the products are to be named differently than on the parental quality label or the testreport | required if the products are to be named differently than on the parental quality label or the testreport | required if the products are to be named differently than on the parental quality label or the testreport | required if the products are to be named differently than on the parental quality label or the testreport | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required if the product designations on the accredited test report are different from those in the EHPA quality seal application | required | required | required | required | required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Unterfertigte CE-Konformitäts-Erklärung | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required | required | required | required | required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Formelle Zustimmung vom Elterngütesiegel-Halter (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | not required | not required | not required | not required | not required | required if the name on the parent seal of approval is different from that on the transfer seal of approval (follow-up) | required if the name on the parent seal of approval is different from that on the transfer seal of approval (follow-up) | required if the name on the parent seal of approval is different from that on the transfer seal of approval (follow-up) | required if the name on the parent seal of approval is different from that on the transfer seal of approval (follow-up) | required if the name on the parent seal of approval is different from that on the transfer seal of approval (follow-up) | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required
2 | Antrag | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Hauptkomponenten Liste hochladen (Hersteller, Typenbezeichnung) und in der Online-Maske im Model inkl. SCOP Werte ausfüllen. | required | required | required | required | required | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Eintragen der Daten nach EN 14511, EN 14825 und EN 12102-1 in der Online-Maske bei den einzelnen Modellen ausfüllen. | required | required | required | required | required | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | does not need to be resubmitted | not required | not required | not required | not required | not required | required | required | required | required | required | required | required | required | required | required | required | required | required | required | required | required | required | required | required | required
3 | Kundenservice (deutschsprachig) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Formular-Vorlage für den Inbetriebnahme- und Wartungs-Techniker | required | required | required | required | required | required if the parental seal of approval was issued in a non-German-speaking country | required if the parental seal of approval was issued in a non-German-speaking country | required if the parental seal of approval was issued in a non-German-speaking country | required if the parental seal of approval was issued in a non-German-speaking country | required if the parental seal of approval was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required
| Garantie für mindestens 2 Jahre | required | required | required | required | required | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required
| Ersatzteilgarantie für mindestens 10 Jahre | required | required | required | required | required | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | required if the company and/or product names on the parent label are different from those on the transfer label (follow-up) | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required
| Reaktionszeit des Kundendienstes im Vertriebsgebiet innerhalb von 24 Stunden und Kontaktdaten zum Kundendienst im Vertriebsgebiet (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | required | required | required | required | required | required | required | required | required | required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | muss nicht erneut eingereicht werden | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required
4 | Bedienungsanleitungen (deutschsprachig) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Informationen und Sicherheitshinweise für eine ordnungsgemäße Nutzung | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Anleitung zur Bedienung der Wärmepumpe | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Ersatzteilliste | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
5 | Installationsanleitungen (deutschsprachig) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Installationsanleitung | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Sicherheitshinweise | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Inbetriebnahmehinweise | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Fluidschemata Kältekreis und Wasserkreis | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Elektroschema zum Anschluss der Wärmepumpe | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Energy-Label und Energy-Label-Datenblatt nach 811/2013 (Heizungs- und Kombiwärmepumpen), bzw 812/2013 (Warmwasserwärmepumpe) (nur bei Geräten mit höchstens 70kW Nennleistung) | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
6 | Technische Daten (deutschsprachig) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Leistungsdaten (Wärmeleistung, elektrische Leistungsaufnahme und COP über den gesamten Leistungsbereich) | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required | required | required | required | required | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Leistungsdaten nach EN 14511 bei A7/W35 (Wärmeleistung, elektrische Leistungsaufnahme und COP) | required | not required | not required | not required | not required | required | not required | not required | not required | not required | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | not required | not required | not required | not required | required for new product names | nicht erforderlich | nicht erforderlich | nicht erforderlich | nicht erforderlich | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Maßzeichnung | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Mindestabstände | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Kältemittel: Art und Füllmenge | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Anlaufstrom / maximaler Betriebsstrom in A | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Einsatzbereich / Einsatzgrenzen | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Volumenstrom Quelle- und Senkenseite in m³/h, l/min | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Volumen des WW-Speichers in Liter | not required | not required | not required | not required | required | not required | not required | not required | not required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | not required | erforderlich | not required | not required | not required | not required | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Gewicht in kg | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Schallleistung nach EN 12102 / Energy-Label in [dB(A)] | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required | required | required | required | required | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| Schallleistung im EN 14825 Prüfpunkt B (A2) in [dB(A)] | required | required | required | required | required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | required | required | required | required | required | required | required | required | required | required | required for new product names | required for new product names | required for new product names | required for new product names | required for new product names | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| maximaler Schallleistungspegel in dB(A) und dazugehörige Heizleistung in kW | required | not required | not required | required | not required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | not required | required | not required | not required | required | not required | required | not required | not required | required | not required | required for new product names | not required | not required | required for new product names | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission
| maximaler Schallleistungspegel "Silent-Mode" in dB(A) und dazugehörige Heizleistung in kW | required | not required | not required | required | not required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | required if the products are to be labeled differently than on the Parental Seal of Quality or the Parental Seal of Quality was issued in a non-German-speaking country | not required | not required | not required | not required | not required | not required | required | not required | not required | required | not required | required | not required | not required | required | not required | required for new product names | not required | not required | required for new product names | not required | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission | required if subsequently requested by the EHPA Quality Seal Commission

## ALT Prüfung Priorität (hidden)
2. Prüfung Priorität - verpflichtende Anforderung zum Ausstellen
|  | Initial application | Transfer from another country or another company | 1st and 2nd renewal (valid for max. 9 years) | from 3rd renewal (validity over 9 years) | Extension of an existing quality label | Change of product names | Technical changes to the product
1 | Grundlegendes
| akkreditierte Prüfberichte nach EN 14511-1 bis 4 und EN 14825, bzw. EN 16147 und EN 12102-1 Anzahl hängt vom Umfang der Modelreihe ab | - | - | - | - | - | - | -
| - Unterschriebener akkreditierter Leistungs-Prüfbericht UND | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …)
| - Unterschriebener akkreditierter Schall-Prüfbericht UND | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …) | ja, egal welches Prüfschema (HP-Keymark, EHPA, …)
| - Wenn auf Basis einer HP-Keymark Zertifizierung eingereicht wurde: gültige HP-Keymarkzertifizierung jedes einzelnes Produktes | lt. Freimüller derzeit nicht, lt. EHPA Regualarien schon | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| SCOP Anforderungen für Heizungs-Wärmepumpen (nicht notwendig bei reinen Brauchwasser-Wärmepumpen) | - | - | - | - | - | - | -
| - Niedertemperaturanwendung (35°C) und durchschnittliches Klima: SCOP Min : 4,3 (B/W, W/W, DX/W); SCOP Min : 3,5 (A/W); SCOP Min : 3,4 (A/A); | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP
| - Mitteltemperaturanwendung (55°C) und durchschnittliches Klima: SCOP Min : 3,38 (B/W, W/W, DX/W); SCOP Min : 3 (A/W) | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP | ja, bei Heizungs-WP
| Anforderungen für Brauchwasser-Wärmepumpen (nur bei Brauchwasser-Wärmepumpen) | - | - | - | - | - | - | -
| - Die Wärmpumpe muss mindestens 52°C Warmwasser erzeugen können | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP
| - Minmaler "SCOP_domestic hot water", bzw. "COP_domestic hot water" wird eingehalten A7 ≥ 2,8 / A15 ≥ 2,9 / A20 ≥ 3,2 / B0 ≥ 2,8 / W10 ≥ 3,0 | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP
| Unterfertigte Baugleicheitsbescheinigung des Herstellers, falls die Produktbezeichnungen am Prüfbericht/HP Keymark und am EHPA Label nicht gleich sind (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | ja, wenn notwendig | ja, wenn notwendig | ja, wenn notwendig | ja, wenn notwendig | ja, wenn notwendig | ja, wenn notwendig | ja, wenn notwendig
| Unterfertigte CE-Konformitäts-Erklärung | ja | ja | ja | ja | ja | ja | ja
| Formelle Zustimmung vom Elterngütesiegel-Halter (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | ja, wenn Übertragung | ja, wenn Übertragung | ja, wenn Übertragung | ja, wenn Übertragung | ja, wenn Übertragung | ja, wenn Übertragung | ja, wenn Übertragung
2 | Antrag | - | - | - | - | - | - | -
| Hauptkomponenten (Hersteller, Typenbezeichnung) und technische Werte in der Online-Maske ausfüllen | ja, beim geprüften Produkt mit dem Prüfbericht vergleichen | ja, beim geprüften Produkt mit dem Prüfbericht vergleichen | ja, beim geprüften Produkt mit dem Prüfbericht vergleichen | ja, beim geprüften Produkt mit dem Prüfbericht vergleichen | ja, beim geprüften Produkt mit dem Prüfbericht vergleichen | ja, beim geprüften Produkt mit dem Prüfbericht vergleichen | ja, beim geprüften Produkt mit dem Prüfbericht vergleichen
3 | Kundenservice (deutschsprachig) | - | - | - | - | - | - | -
| Formular-Vorlage für den Inbetriebnahme- und Wartungs-Techniker | nein | nein | nein | nein | - | nein | nein
| Garantie für mindestens 2 Jahre | ja | ja | ja | ja | - | ja | ja
| Ersatzteilgarantie für mindestens 10 Jahre | ja | ja | ja | ja | - | ja | ja
| Reaktionszeit des Kundendienstes im Vertriebsgebiet innerhalb von 24 Stunden und Kontaktdaten zum Kundendienst im Vertriebsgebiet (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | ja | ja | ja | ja | - | ja | ja
4 | Bedienungsanleitungen (deutschsprachig) | - | - | - | - | - | - | -
| Informationen und Sicherheitshinweise für eine ordnungsgemäße Nutzung | ja | ja | ja | ja | ja | ja | ja
| Anleitung zur Bedienung der Wärmepumpe | ja | ja | ja | ja | ja | ja | ja
| Ersatzteilliste | nein | nein | nein | nein | nein | nein | nein
5 | Installationsanleitungen (deutschsprachig) | - | - | - | - | - | - | -
| Installationsanleitung | nein | nein | nein | nein | nein | nein | nein
| Sicherheitshinweise | nein | nein | nein | nein | nein | nein | nein
| Inbetriebnahmehinweise | nein | nein | nein | nein | nein | nein | nein
| Fluidschemata Kältekreis und Wasserkreis | nein | nein | nein | nein | nein | nein | nein
| Elektroschema zum Anschluss der Wärmepumpe | nein | nein | nein | nein | nein | nein | nein
| Energy-Label und Energy-Label-Datenblatt nach 811/2013 (Heizungs- und Kombiwärmepumpen), bzw 812/2013 (Warmwasserwärmepumpe) (nur bei Geräten mit höchstens 70kW Nennleistung) | nein | nein | nein | nein | nein | nein | nein
6 | Technische Daten (deutschsprachig) | - | - | - | - | - | - | -
| Leistungsdaten (Wärmeleistung, elektrische Leistungsaufnahme und COP über den gesamten Leistungsbereich) | nein | nein | nein | nein | nein | nein | nein
| Leistungsdaten nach EN 14511 bei A7/W35 (Wärmeleistung, elektrische Leistungsaufnahme und COP) | ja | ja | - | nein | ja | ja | nein
| Maßzeichnung | nein | nein | nein | nein | nein | nein | nein
| Mindestabstände | nein | nein | nein | nein | nein | nein | nein
| Kältemittel: Art und Füllmenge | ja | ja | ja | ja | ja | ja | ja
| Anlaufstrom / maximaler Betriebsstrom in A | nein | nein | nein | nein | nein | nein | nein
| Einsatzbereich / Einsatzgrenzen | nein | nein | nein | nein | nein | nein | nein
| Volumenstrom Quelle- und Senkenseite in m³/h, l/min | nein | nein | nein | nein | nein | nein | nein
| Volumen des WW-Speichers in Liter | nein | nein | nein | nein | nein | nein | nein
| Gewicht in kg | nein | nein | nein | nein | nein | nein | nein
| Schallleistung (ErP-Anforderungen) in[dB(A) | ja | ja | ja | ja | ja | ja | ja
| maximaler Schallleistungspegel in dB(A) und dazugehörige Heizleistung in kW | nein | nein | nein | nein | nein | nein | nein
| maximaler Schallleistungspegel "Silent-Mode" in dB(A) und dazugehörige Heizleistung in kW | nein | nein | nein | nein | nein | nein | nein

## ALT Prüfer-Hinweis (hidden)
2. Prüfung Prüferhinweis
|  | Initial application | Transfer from another country or another company | 1st and 2nd renewal (valid for max. 9 years) | from 3rd renewal (validity over 9 years) | Extension of an existing quality label | Change of product names | Technical changes to the product
1 | Grundlegendes
| akkreditierte Prüfberichte nach EN 12102-1 und -2, EN 14511-2 bis 4 und EN 14825, bzw. EN 16147 bei Trinkwasser Anzahl hängt vom Umfang der Modelreihe ab | - | - | - | - | - | - | -
| - Unterschriebener detaillierter akkreditierter Leistungs-Prüfbericht nach EHPA Regularien oder HP-Keymark Regularien UND | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | - | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | - | Prübreicht ist nur dann notwendig, wenn die Gütesiegel-Kommission eine Nachmessung verlangt
| - Unterschriebener detaillierter akkreditierter Schall-Prüfbericht nach EHPA Regularien oder HP-Keymark Regularien UND | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | - | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | Ist die Prüfung nach EHPA Regularien oder HP-Keymark-Schema und unter der Akkreditierung des Prüfinsitutes durchgeführt worden (Logo eines nationalen oder Internationalen Akkreditierungs-Institiutes oder schriftlicher Verweis auf die Akkreditierung); ist der Prüfbericht unterschrieben oder gültig digital signiert; stimmen Leistungswerte mit den technischen Unterlagen überein (SCOP +- 0,1 lt. Freimüller); wurden die erforderliche Anzahl an Prüfberichten eingereicht; Wird das Gerät als LT und MT verkauft müssen auch im Prüfbericht SCOP Werte für beide Temperaturanwendungen enthalten sein. | - | Prübreicht ist nur dann notwendig, wenn die Gütesiegel-Kommission eine Nachmessung verlangt
| SCOP Anforderungen für Heizungs-Wärmepumpen | - | - | - | - | - | - | -
| - Niedertemperaturanwendung (35°C) und durchschnittliches Klima: SCOP Min : 3,70 (A/W) SCOP Min : 4,70 (B/W, W/W) SCOP Min : 4,10 (DX/W) SCOP Min : 3,40 (A/A) | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein | - | - | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein | - | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein
| - Mitteltemperaturanwendung (55°C) und durchschnittliches Klima: SCOP Min : 3,20 (A/W) SCOP Min : 3,70 (B/W, W/W) SCOP Min : 3,38 (DX/W) | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein | - | - | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein | - | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein
| Anforderungen für Brauchwasser-Wärmepumpen | - | - | - | - | - | - | -
| - Die Wärmpumpe muss mindestens 52°C Warmwasser erzeugen können | werden die EHPA Grenzen eingehalten | - | - | - | - | - | werden die EHPA Grenzen eingehalten
| - Minmaler "SCOP_domestic hot water", bzw. "COP_domestic hot water" wird eingehalten A7 ≥ 2,8 / A15 ≥ 2,9 / A20 ≥ 3,2 / B0 ≥ 2,8 / W10 ≥ 3,0 | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein | - | - | - | - | - | werden die EHPA Grenzen eingehalten und sind die SCOP Grenzen in allen Unterlagen gleich angegeben, bzw. stimmen diese mit dem Prüfbericht überein
| Unterfertigte Baugleicheitsbescheinigung des Herstellers, falls die Produktbezeichnungen am Prüfbericht/HP Keymark und am EHPA Label nicht gleich sind (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | Ist der Produktname am Prüfbericht nicht ident mit dem Produktnamen am Gütesiegel, muss bestätigt werden, dass nur der Name unterschiedlich ist. Die Hardware und somit auch die Leistungsdaten sind gleich. | Ist der Produktname am Prüfbericht nicht ident mit dem Produktnamen am Gütesiegel, muss bestätigt werden, dass nur der Name unterschiedlich ist. Die Hardware und somit auch die Leistungsdaten sind gleich. | - | Ist der Produktname am Prüfbericht nicht ident mit dem Produktnamen am Gütesiegel, muss bestätigt werden, dass nur der Name unterschiedlich ist. Die Hardware und somit auch die Leistungsdaten sind gleich. | Ist der Produktname am Prüfbericht nicht ident mit dem Produktnamen am Gütesiegel, muss bestätigt werden, dass nur der Name unterschiedlich ist. Die Hardware und somit auch die Leistungsdaten sind gleich. | Ist der Produktname am Prüfbericht nicht ident mit dem Produktnamen am Gütesiegel, muss bestätigt werden, dass nur der Name unterschiedlich ist. Die Hardware und somit auch die Leistungsdaten sind gleich. | Ist der Produktname am Prüfbericht nicht ident mit dem Produktnamen am Gütesiegel, muss bestätigt werden, dass nur der Name unterschiedlich ist. Die Hardware und somit auch die Leistungsdaten sind gleich.
| Unterfertigte CE-Konformitäts-Erklärung | Der Produktname muss gefunden werden, sie muss unterfertigt sein und die gängigen EU Normen und Vorschriften enthalten. | Der Produktname muss gefunden werden, sie muss unterfertigt sein und die gängigen EU Normen und Vorschriften enthalten. | - | Der Produktname muss gefunden werden, sie muss unterfertigt sein und die gängigen EU Normen und Vorschriften enthalten. | Der Produktname muss gefunden werden, sie muss unterfertigt sein und die gängigen EU Normen und Vorschriften enthalten. | Der Produktname muss gefunden werden, sie muss unterfertigt sein und die gängigen EU Normen und Vorschriften enthalten. | Der Produktname muss gefunden werden, sie muss unterfertigt sein und die gängigen EU Normen und Vorschriften enthalten.
| Formelle Zustimmung vom Elterngütesiegel-Halter (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | - | ausgefüllte und unterzeichnete Vorlage | - | - | - | - | -
2 | Antrag | - | - | - | - | - | - | -
| Hauptkomponenten Liste hochladen (Hersteller, Typenbezeichnung) und in der Online-Maske im Model inkl. SCOP Werte ausfüllen. | Die eingetragenen Werte müssen mit den Datenblättern, bzw. dem Prüfbericht übereinstimmen. Die Hauptkomponenten müssen mit dem Prüfbericht übereinstimmen. Bei den Hauptkomponenten muss ein Herstellername und genaue Typenbezeichnung angegeben sein. Softwareversion muss die derzeit aktuelle eingetragen sein. | - | - | Die eingetragenen Werte müssen mit den Datenblättern, bzw. dem Prüfbericht übereinstimmen. Die Hauptkomponenten müssen mit dem Prüfbericht übereinstimmen. Bei den Hauptkomponenten muss ein Herstellername und genaue Typenbezeichnung angegeben sein. Softwareversion muss die derzeit aktuelle eingetragen sein. | Die eingetragenen Werte müssen mit den Datenblättern, bzw. dem Prüfbericht übereinstimmen. Die Hauptkomponenten müssen mit dem Prüfbericht übereinstimmen. Bei den Hauptkomponenten muss ein Herstellername und genaue Typenbezeichnung angegeben sein. Softwareversion muss die derzeit aktuelle eingetragen sein. | - | Die eingetragenen Werte müssen mit den Datenblättern, bzw. dem Prüfbericht übereinstimmen. Die Hauptkomponenten müssen mit dem Prüfbericht übereinstimmen. Bei den Hauptkomponenten muss ein Herstellername und genaue Typenbezeichnung angegeben sein. Softwareversion muss die derzeit aktuelle eingetragen sein.
Eintragen der Daten nach EN 14511, EN 14825 und EN 12102-1 in der Online-Maske bei den einzelnen Modellen ausfüllen.
3 | Kundenservice (deutschsprachig) | - | - | - | - | - | - | -
| Formular-Vorlage für den Inbetriebnahme- und Wartungs-Techniker | muss vorhanden sein | muss vorhanden sein | - | muss vorhanden sein | muss vorhanden sein | - | -
| Garantie für mindestens 2 Jahre | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Wichtig ist, dass es nicht die gesetzliche Gewährleistung ist, sondern eine Garantie. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Wichtig ist, dass es nicht die gesetzliche Gewährleistung ist, sondern eine Garantie. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | - | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Wichtig ist, dass es nicht die gesetzliche Gewährleistung ist, sondern eine Garantie. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Wichtig ist, dass es nicht die gesetzliche Gewährleistung ist, sondern eine Garantie. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | - | -
| Ersatzteilgarantie für mindestens 10 Jahre | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | - | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | Teilweise wird dies in den AGBs angeführt, teilweise durch eine separates Schriftstück bestätigt. Diese Garantie muss unabhängig von Service/Wartungsverträgen sein. | - | -
| Reaktionszeit des Kundendienstes im Vertriebsgebiet innerhalb von 24 Stunden und Kontaktdaten zum Kundendienst im Vertriebsgebiet (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | Ausgefüllte Vorlage | Ausgefüllte Vorlage | - | Ausgefüllte Vorlage | Ausgefüllte Vorlage | - | -
4 | Bedienungsanleitungen (deutschsprachig) | - | - | - | - | - | - | -
| Informationen und Sicherheitshinweise für eine ordnungsgemäße Nutzung | Meist ein paar Seiten in der Montageanleitung oder Installationsanleitung. Inhalt wird hier nur grob überflogen | Meist ein paar Seiten in der Montageanleitung oder Installationsanleitung. Inhalt wird hier nur grob überflogen | - | Meist ein paar Seiten in der Montageanleitung oder Installationsanleitung. Inhalt wird hier nur grob überflogen | Meist ein paar Seiten in der Montageanleitung oder Installationsanleitung. Inhalt wird hier nur grob überflogen | Meist ein paar Seiten in der Montageanleitung oder Installationsanleitung. Inhalt wird hier nur grob überflogen | Meist ein paar Seiten in der Montageanleitung oder Installationsanleitung. Inhalt wird hier nur grob überflogen
| Anleitung zur Bedienung der Wärmepumpe | Bedienungsanleitung + Regleranleitung für Endkunden | Bedienungsanleitung + Regleranleitung für Endkunden | - | Bedienungsanleitung + Regleranleitung für Endkunden | Bedienungsanleitung + Regleranleitung für Endkunden | Bedienungsanleitung + Regleranleitung für Endkunden | Bedienungsanleitung + Regleranleitung für Endkunden
| Ersatzteilliste | Es müssen für alle Produkte Ersatzteile angeführt werde. Stichprobenartig prüfen ob Hauptkomponenten enthalten sind. | Es müssen für alle Produkte Ersatzteile angeführt werde. Stichprobenartig prüfen ob Hauptkomponenten enthalten sind. | - | Es müssen für alle Produkte Ersatzteile angeführt werde. Stichprobenartig prüfen ob Hauptkomponenten enthalten sind. | Es müssen für alle Produkte Ersatzteile angeführt werde. Stichprobenartig prüfen ob Hauptkomponenten enthalten sind. | Es müssen für alle Produkte Ersatzteile angeführt werde. Stichprobenartig prüfen ob Hauptkomponenten enthalten sind. | Es müssen für alle Produkte Ersatzteile angeführt werde. Stichprobenartig prüfen ob Hauptkomponenten enthalten sind.
5 | Installationsanleitungen (deutschsprachig) | - | - | - | - | - | - | -
| Installationsanleitung | Installationsanleitung muss vorhanden sein | Installationsanleitung muss vorhanden sein | - | Installationsanleitung muss vorhanden sein | Installationsanleitung muss vorhanden sein | Installationsanleitung muss vorhanden sein | Installationsanleitung muss vorhanden sein
| Sicherheitshinweise | Sicherheitshinweise müssen enthalten sein | Sicherheitshinweise müssen enthalten sein | - | Sicherheitshinweise müssen enthalten sein | Sicherheitshinweise müssen enthalten sein | Sicherheitshinweise müssen enthalten sein | Sicherheitshinweise müssen enthalten sein
| Inbetriebnahmehinweise | Inbetriebnahmehinweise müssen enthalten sein (zum Beispiel: Transport, Aufstellung, Anschluss Wasser/Kälte, Anschluss Strom, Inbetriebnahme am Regler, Fehlerbeschreibung,…) | Inbetriebnahmehinweise müssen enthalten sein (zum Beispiel: Transport, Aufstellung, Anschluss Wasser/Kälte, Anschluss Strom, Inbetriebnahme am Regler, Fehlerbeschreibung,…) | - | Inbetriebnahmehinweise müssen enthalten sein (zum Beispiel: Transport, Aufstellung, Anschluss Wasser/Kälte, Anschluss Strom, Inbetriebnahme am Regler, Fehlerbeschreibung,…) | Inbetriebnahmehinweise müssen enthalten sein (zum Beispiel: Transport, Aufstellung, Anschluss Wasser/Kälte, Anschluss Strom, Inbetriebnahme am Regler, Fehlerbeschreibung,…) | Inbetriebnahmehinweise müssen enthalten sein (zum Beispiel: Transport, Aufstellung, Anschluss Wasser/Kälte, Anschluss Strom, Inbetriebnahme am Regler, Fehlerbeschreibung,…) | Inbetriebnahmehinweise müssen enthalten sein (zum Beispiel: Transport, Aufstellung, Anschluss Wasser/Kälte, Anschluss Strom, Inbetriebnahme am Regler, Fehlerbeschreibung,…)
| Fluidschemata Kältekreis und Wasserkreis | Es muss ein Schema mit Beschriftung der Komponenten des Kältekreises vorhanden sein und eine schematische Empfehlung für die Wasserinstallation (Heizung, Warmwasser). Das Kältekreisschema der beantragten Modelle muss der Definition der Modelreihe entsprechen -> gleiche Kompressortechnologie | Es muss ein Schema mit Beschriftung der Komponenten des Kältekreises vorhanden sein und eine schematische Empfehlung für die Wasserinstallation (Heizung, Warmwasser). Das Kältekreisschema der beantragten Modelle muss der Definition der Modelreihe entsprechen -> gleiche Kompressortechnologie | - | Es muss ein Schema mit Beschriftung der Komponenten des Kältekreises vorhanden sein und eine schematische Empfehlung für die Wasserinstallation (Heizung, Warmwasser). Das Kältekreisschema der beantragten Modelle muss der Definition der Modelreihe entsprechen -> gleiche Kompressortechnologie | Es muss ein Schema mit Beschriftung der Komponenten des Kältekreises vorhanden sein und eine schematische Empfehlung für die Wasserinstallation (Heizung, Warmwasser). Das Kältekreisschema der beantragten Modelle muss der Definition der Modelreihe entsprechen -> gleiche Kompressortechnologie | Es muss ein Schema mit Beschriftung der Komponenten des Kältekreises vorhanden sein und eine schematische Empfehlung für die Wasserinstallation (Heizung, Warmwasser). Das Kältekreisschema der beantragten Modelle muss der Definition der Modelreihe entsprechen -> gleiche Kompressortechnologie | Es muss ein Schema mit Beschriftung der Komponenten des Kältekreises vorhanden sein und eine schematische Empfehlung für die Wasserinstallation (Heizung, Warmwasser). Das Kältekreisschema der beantragten Modelle muss der Definition der Modelreihe entsprechen -> gleiche Kompressortechnologie
| Elektroschema zum Anschluss der Wärmepumpe | Es müssen mindestens die Ein- und Ausgangsklemmen beschrieben sein (Funktion und Elektrische Angaben) | Es müssen mindestens die Ein- und Ausgangsklemmen beschrieben sein (Funktion und Elektrische Angaben) | - | Es müssen mindestens die Ein- und Ausgangsklemmen beschrieben sein (Funktion und Elektrische Angaben) | Es müssen mindestens die Ein- und Ausgangsklemmen beschrieben sein (Funktion und Elektrische Angaben) | Es müssen mindestens die Ein- und Ausgangsklemmen beschrieben sein (Funktion und Elektrische Angaben) | Es müssen mindestens die Ein- und Ausgangsklemmen beschrieben sein (Funktion und Elektrische Angaben)
| Energy-Label und Energy-Label-Datenblatt nach 811/2013 (Heizungs- und Kombiwärmepumpen), bzw 812/2013 (Warmwasserwärmepumpe) (nur bei Geräten mit höchstens 70kW Nennleistung) | Produktname muss mit dem Namen am Gütesiegel übereinstimmen und Effizienzwerte und Schallwerte müssen mit den anderen Unterlagen übereinstimmen. | Produktname muss mit dem Namen am Gütesiegel übereinstimmen und Effizienzwerte und Schallwerte müssen mit den anderen Unterlagen übereinstimmen. | - | Produktname muss mit dem Namen am Gütesiegel übereinstimmen und Effizienzwerte und Schallwerte müssen mit den anderen Unterlagen übereinstimmen. | Produktname muss mit dem Namen am Gütesiegel übereinstimmen und Effizienzwerte und Schallwerte müssen mit den anderen Unterlagen übereinstimmen. | Produktname muss mit dem Namen am Gütesiegel übereinstimmen und Effizienzwerte und Schallwerte müssen mit den anderen Unterlagen übereinstimmen. | Produktname muss mit dem Namen am Gütesiegel übereinstimmen und Effizienzwerte und Schallwerte müssen mit den anderen Unterlagen übereinstimmen.
6 | Technische Daten (deutschsprachig) | - | - | - | - | - | - | -
| Leistungsdaten (Wärmeleistung, elektrische Leistungsaufnahme und COP über den gesamten Leistungsbereich) | zB: Werte am Energy-Label Datenblatt | zB: Werte am Energy-Label Datenblatt | - | zB: Werte am Energy-Label Datenblatt | zB: Werte am Energy-Label Datenblatt | zB: Werte am Energy-Label Datenblatt | zB: Werte am Energy-Label Datenblatt
| Leistungsdaten nach EN 14511 bei A7/W35 (Wärmeleistung, elektrische Leistungsaufnahme und COP) | muss lt. EHPA Regularien nicht enthalten sein, wird jedoch verlangt, da diese Daten in der GET-Datenbank notwendig sind | muss lt. EHPA Regularien nicht enthalten sein, wird jedoch verlangt, da diese Daten in der GET-Datenbank notwendig sind | - | muss lt. EHPA Regularien nicht enthalten sein, wird jedoch verlangt, da diese Daten in der GET-Datenbank notwendig sind | muss lt. EHPA Regularien nicht enthalten sein, wird jedoch verlangt, da diese Daten in der GET-Datenbank notwendig sind | muss lt. EHPA Regularien nicht enthalten sein, wird jedoch verlangt, da diese Daten in der GET-Datenbank notwendig sind | -
| Maßzeichnung | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| Mindestabstände | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| Kältemittel: Art und Füllmenge | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| Anlaufstrom / maximaler Betriebsstrom in A | Anlaufstrom oder maximaler Betriebsstrom | Anlaufstrom oder maximaler Betriebsstrom | - | Anlaufstrom oder maximaler Betriebsstrom | Anlaufstrom oder maximaler Betriebsstrom | Anlaufstrom oder maximaler Betriebsstrom | Anlaufstrom oder maximaler Betriebsstrom
| Einsatzbereich / Einsatzgrenzen | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| Volumenstrom Quelle- und Senkenseite in m³/h, l/min | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| Volumen des WW-Speichers in Liter | muss enthalten sein | - | - | - | - | - | muss enthalten sein
| Gewicht in kg | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| Schallleistung nach EN 12102 / Energy-Label in dB(A) | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| Schallleistung im EN 14825 Prüfpunkt B (A2) in dB(A) | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| maximaler Schallleistungspegel in dB(A) und dazugehörige Heizleistung in kW | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein
| maximaler Schallleistungspegel "Silent-Mode" in dB(A) und dazugehörige Heizleistung in kW | muss enthalten sein | muss enthalten sein | - | muss enthalten sein | muss enthalten sein | muss enthalten sein | muss enthalten sein

## ALT Prüfer (hidden)
Anforderungsliste für die EHPA-Gütesiegel-Beantragung
| Antragsform: | *Please select from list*
| Wärmepumpen-Typ: | *Please select from list*
*Company name*
|  | Anforderung für die gewählte Antragsform | *model-range name*
1 | Grundlegendes |  | Hinweise zur Prüfung | ist verpflichtend zum Ausstellen
| akkreditierte Prüfberichte nach EN 14511-2 bis 4 und EN 14825, bzw. EN 16147 und EN 12102-1 und -2 Anzahl hängt vom Umfang der Modelreihe ab | #N/A | EHPA_ | -
| - Unterschriebener detaillierter akkreditierter Leistungs-Prüfbericht nach EHPA Regularien oder HP-Keymark Regularien UND | #N/A | #N/A | #N/A
| - Unterschriebener detaillierter akkreditierter Schall-Prüfbericht nach EHPA Regularien oder HP-Keymark Regularien UND | #N/A | #N/A | #N/A
| - Wenn auf Basis einer HP-Keymark Zertifizierung eingereicht wurde: gültige HP-Keymarkzertifizierung jedes einzelnes Produktes | #N/A | #N/A | #N/A
| SCOP Anforderungen für Heizungs-Wärmepumpen | #N/A | #N/A | #N/A
| - Niedertemperaturanwendung (35°C) und durchschnittliches Klima: SCOP Min : 4,3 (B/W, W/W, DX/W); SCOP Min : 3,5 (A/W); SCOP Min : 3,4 (A/A); | #N/A | #N/A | #N/A
| - Mitteltemperaturanwendung (55°C) und durchschnittliches Klima: SCOP Min : 3,38 (B/W, W/W, DX/W); SCOP Min : 3 (A/W) | #N/A | #N/A | #N/A
| Anforderungen für Brauchwasser-Wärmepumpen | #N/A | #N/A | #N/A
| - Die Wärmpumpe muss mindestens 52°C Warmwasser erzeugen können | #N/A | #N/A | #N/A
| - Minmaler "SCOP_domestic hot water", bzw. "COP_domestic hot water" wird eingehalten A7 ≥ 2,8 / A15 ≥ 2,9 / A20 ≥ 3,2 / B0 ≥ 2,8 / W10 ≥ 3,0 | #N/A | #N/A | #N/A
| Unterfertigte Baugleicheitsbescheinigung des Herstellers, falls die Produktbezeichnungen am Prüfbericht/HP Keymark und am EHPA Label nicht gleich sind (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | #N/A | #N/A | #N/A
| Unterfertigte CE-Konformitäts-Erklärung | #N/A | #N/A | #N/A
| Formelle Zustimmung vom Elterngütesiegel-Halter (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | #N/A | #N/A | #N/A
2 | Antrag | #N/A | #N/A | #N/A
| Hauptkomponenten Liste hochladen (Hersteller, Typenbezeichnung) und in der Online-Maske im Model inkl. SCOP Werte ausfüllen. | #N/A | #N/A | #N/A
3 | Kundenservice (deutschsprachig) | #N/A | #N/A | #N/A
| Formular-Vorlage für den Inbetriebnahme- und Wartungs-Techniker | #N/A | #N/A | #N/A
| Garantie für mindestens 2 Jahre | #N/A | #N/A | #N/A
| Ersatzteilgarantie für mindestens 10 Jahre | #N/A | #N/A | #N/A
| Reaktionszeit des Kundendienstes im Vertriebsgebiet innerhalb von 24 Stunden und Kontaktdaten zum Kundendienst im Vertriebsgebiet (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | #N/A | #N/A | #N/A
4 | Bedienungsanleitungen (deutschsprachig) | #N/A | #N/A | #N/A
| Informationen und Sicherheitshinweise für eine ordnungsgemäße Nutzung | #N/A | #N/A | #N/A
| Anleitung zur Bedienung der Wärmepumpe | #N/A | #N/A | #N/A
| Ersatzteilliste | #N/A | #N/A | #N/A
5 | Installationsanleitungen (deutschsprachig) | #N/A | #N/A | #N/A
| Installationsanleitung | #N/A | #N/A | #N/A
| Sicherheitshinweise | #N/A | #N/A | #N/A
| Inbetriebnahmehinweise | #N/A | #N/A | #N/A
| Fluidschemata Kältekreis und Wasserkreis | #N/A | #N/A | #N/A
| Elektroschema zum Anschluss der Wärmepumpe | #N/A | #N/A | #N/A
| Energy-Label und Energy-Label-Datenblatt nach 811/2013 (Heizungs- und Kombiwärmepumpen), bzw 812/2013 (Warmwasserwärmepumpe) (nur bei Geräten mit höchstens 70kW Nennleistung) | #N/A | #N/A | #N/A
6 | Technische Daten (deutschsprachig) | #N/A | #N/A | #N/A
| Leistungsdaten (Wärmeleistung, elektrische Leistungsaufnahme und COP über den gesamten Leistungsbereich) | #N/A | #N/A | #N/A
| Leistungsdaten nach EN 14511 bei A7/W35 (Wärmeleistung, elektrische Leistungsaufnahme und COP) | #N/A | #N/A | #N/A
| Maßzeichnung | #N/A | #N/A | #N/A
| Mindestabstände | #N/A | #N/A | #N/A
| Kältemittel: Art und Füllmenge | #N/A | #N/A | #N/A
| Anlaufstrom / maximaler Betriebsstrom in A | #N/A | #N/A | #N/A
| Einsatzbereich / Einsatzgrenzen | #N/A | #N/A | #N/A
| Volumenstrom Quelle- und Senkenseite in m³/h, l/min | #N/A | #N/A | #N/A
| Volumen des WW-Speichers in Liter | #N/A | #N/A | #N/A
| Gewicht in kg | #N/A | #N/A | #N/A
| Schallleistung nach EN 12102 / Energy-Label in[dB(A) | #N/A | #N/A | #N/A
| maximaler Schallleistungspegel in dB(A) und dazugehörige Heizleistung in kW | #N/A | #N/A | #N/A
| maximaler Schallleistungspegel "Silent-Mode" in dB(A) und dazugehörige Heizleistung in kW | #N/A | #N/A | #N/A

## ALT 1.Prüfung (hidden)
Liste für 1.Prüfung
|  | Initial application | Transfer from another country or another company | 1st and 2nd renewal (valid for max. 9 years) | from 3rd renewal (validity over 9 years) | Extension of an existing quality label | Change of product names | Technical changes to the product
1 | Grundlegendes
| akkreditierte Prüfberichte nach EN 14511-1 bis 4 und EN 14825, bzw. EN 16147 und EN 12102-1 Anzahl hängt vom Umfang der Modelreihe ab | - | - | - | - | - | - | -
| - Unterschriebener akkreditierter Leistungs-Prüfbericht UND | ja | ja | ja | ja | nein | ja | Prüfung KAI
| - Unterschriebener akkreditierter Schall-Prüfbericht UND | ja | ja | ja | ja | nein | ja | Prüfung KAI
| - Wenn auf Basis einer HP-Keymark Zertifizierung eingereicht wurde: gültige HP-Keymarkzertifizierung jedes einzelnes Produktes | nein | #REF! | #REF! | #REF! | #REF! | #REF! | Prüfung KAI
| SCOP Anforderungen für Heizungs-Wärmepumpen (nicht notwendig bei reinen Brauchwasser-Wärmepumpen) | - | - | - | - | - | - | -
| - Niedertemperaturanwendung (35°C) und durchschnittliches Klima: SCOP Min : 4,3 (B/W, W/W, DX/W); SCOP Min : 3,5 (A/W); SCOP Min : 3,4 (A/A); | ja, bei Heizungs-WP | nein | nein | ja, bei Heizungs-WP | ja, bei Heizungs-WP | nein | Prüfung KAI
| - Mitteltemperaturanwendung (55°C) und durchschnittliches Klima: SCOP Min : 3,38 (B/W, W/W, DX/W); SCOP Min : 3 (A/W) | ja, bei Heizungs-WP | nein | nein | ja, bei Heizungs-WP | ja, bei Heizungs-WP | nein | Prüfung KAI
| Anforderungen für Brauchwasser-Wärmepumpen (nur bei Brauchwasser-Wärmepumpen) | - | - | - | - | - | - | -
| - Die Wärmpumpe muss mindestens 52°C Warmwasser erzeugen können | ja, bei Brauchwasser-WP | nein | nein | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | nein | Prüfung KAI
| - Minmaler "SCOP_domestic hot water", bzw. "COP_domestic hot water" wird eingehalten A7 ≥ 2,8 / A15 ≥ 2,9 / A20 ≥ 3,2 / B0 ≥ 2,8 / W10 ≥ 3,0 | ja, bei Brauchwasser-WP | nein | nein | ja, bei Brauchwasser-WP | ja, bei Brauchwasser-WP | nein | Prüfung KAI
| Unterfertigte Baugleicheitsbescheinigung des Herstellers, falls die Produktbezeichnungen am Prüfbericht/HP Keymark und am EHPA Label nicht gleich sind (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | nein | ja, wenn sich Produktnamen ändern | nein | nein | nein | ja | Prüfung KAI
| Unterfertigte CE-Konformitäts-Erklärung | ja | nein | nein | nein | ja | ja | Prüfung KAI
| Formelle Zustimmung vom Elterngütesiegel-Halter (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | nein | ja | nein | nein | nein | nein | Prüfung KAI
2 | Antrag | - | - | - | - | - | - | -
| Hauptkomponenten (Hersteller, Typenbezeichnung) und technische Werte in der Online-Maske ausfüllen | ja | nein | nein | ja | ja | nein | Prüfung KAI
3 | Kundenservice (deutschsprachig) | - | - | - | - | - | - | -
| Formular-Vorlage für den Inbetriebnahme- und Wartungs-Techniker | ja | ja | nein | nein | nein | nein | Prüfung KAI
| Garantie für mindestens 2 Jahre | ja | ja | nein | nein | nein | nein | Prüfung KAI
| Ersatzteilgarantie für mindestens 10 Jahre | ja | ja | nein | nein | nein | nein | Prüfung KAI
| Reaktionszeit des Kundendienstes im Vertriebsgebiet innerhalb von 24 Stunden und Kontaktdaten zum Kundendienst im Vertriebsgebiet (siehe Vorlage unter www.waermepumpe-austria.at/dienste/guetesiegel/dokumente-und-links) | ja | ja | nein | nein | nein | nein | Prüfung KAI
4 | Bedienungsanleitungen (deutschsprachig) | - | - | - | - | - | - | -
| Informationen und Sicherheitshinweise für eine ordnungsgemäße Nutzung | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Anleitung zur Bedienung der Wärmepumpe | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Ersatzteilliste | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
5 | Installationsanleitungen (deutschsprachig) | - | - | - | - | - | - | -
| Installationsanleitung | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Sicherheitshinweise | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Inbetriebnahmehinweise | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Fluidschemata Kältekreis und Wasserkreis | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Elektroschema zum Anschluss der Wärmepumpe | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Energy-Label und Energy-Label-Datenblatt nach 811/2013 (Heizungs- und Kombiwärmepumpen), bzw 812/2013 (Warmwasserwärmepumpe) (nur bei Geräten mit höchstens 70kW Nennleistung) | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
6 | Technische Daten (deutschsprachig) | - | - | - | - | - | - | -
| Leistungsdaten (Wärmeleistung, elektrische Leistungsaufnahme und COP über den gesamten Leistungsbereich) | ja | ja, wenn sich Produktnamen ändern | nein | ja | ja | ja | Prüfung KAI
| Leistungsdaten nach EN 14511 bei A7/W35 (Wärmeleistung, elektrische Leistungsaufnahme und COP) | ja | ja | nein | nein | ja | ja | Prüfung KAI
| Maßzeichnung | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Mindestabstände | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Kältemittel: Art und Füllmenge | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Anlaufstrom / maximaler Betriebsstrom in A | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Einsatzbereich / Einsatzgrenzen | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Volumenstrom Quelle- und Senkenseite in m³/h, l/min | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Volumen des WW-Speichers in Liter | nein | ja, wenn sich Produktnamen ändern | nein | nein | nein | nein | Prüfung KAI
| Gewicht in kg | ja | ja, wenn sich Produktnamen ändern | nein | nein | ja | ja | Prüfung KAI
| Schallleistung (ErP-Anforderungen) in[dB(A) | ja | ja, wenn sich Produktnamen ändern | nein | ja | ja | ja | Prüfung KAI
| maximaler Schallleistungspegel in dB(A) und dazugehörige Heizleistung in kW | ja | ja, wenn sich Produktnamen ändern | nein | ja | ja | ja | Prüfung KAI
| maximaler Schallleistungspegel "Silent-Mode" in dB(A) und dazugehörige Heizleistung in kW | ja | ja, wenn sich Produktnamen ändern | nein | ja | ja | ja | Prüfung KAI